SAMPLE INSTRUCTIONS FOR BREAKOUT BARRIER INSTALLATION

model #mbe40m

- Provide 40mil. polyethylene liner as available from Miller Environmental Corp., East Bridgewater, MA (508.378.3800).

- Install liner around the entire soil absorption system as shown ____-feet from edge of the system and vertically from Elev.. ____ down to Elev. ____ .

- Cover with minimum  ____-inches of general fill containg no stones greater than 2-inches and  ____-inches of loam prior to seeding or landscaping.